## Slide 1
MASTER OF SCIENCE · DATA SCIENCE · MARWADI UNIVERSITY
Electricity Demand
Forecasting &
Peak Risk Detection
System
Tushar Kacha · Isha Kakadiya · Drashti Parecha
Guide: Dr. Sunil Bajeja & Nikunj Bosamiya | AY 2025–26

## Slide 2
OVERVIEW
Agenda
01
Problem Statement
Why electricity forecasting matters
02
Objectives & Scope
What we set out to achieve
03
Dataset & Features
17,496 hourly records, 19 engineered features
04
System Architecture
End-to-end ML pipeline flowchart
05
Models & Methodology
XGBoost Regressor + Gradient-Boost Classifier
06
Results & Metrics
MAE 1.84 MW · R² 0.9964 · AUC 0.999
07
Streamlit Dashboard
4-page interactive application
08
Proposed Enhancements
Future roadmap
09
Conclusion
Key takeaways

## Slide 3
INTRODUCTION
Problem Statement
Electricity is the backbone of modern civilisation. Yet power grids worldwide struggle with one fundamental challenge:
Demand is unpredictable.
Blackouts
Unexpected demand spikes cause equipment failure and economic loss
Over-procurement
Excess generation leads to waste and inflated costs
Traditional Limits
ARIMA & statistical methods fail to capture nonlinear patterns
No Real-Time Risk
Utilities lack instant peak-risk scoring tools
Our Solution
XGBoost Regression
for hourly MW prediction
Gradient-Boost Classifier
for peak-hour detection
Streamlit Dashboard
for grid operators

## Slide 4
OBJECTIVES
Project Objectives & Scope
01
Sub-2 MW Accuracy
Forecast hourly electricity demand with MAE below 2 MW
02
Zero Missed Peaks
Detect peak-risk hours in advance with Recall = 1.0
03
Operator Dashboard
Interactive UI accessible to non-technical grid operators
04
24-Hour Ahead Forecast
Support day-ahead load scheduling decisions
05
Trend Analysis
Enable monthly and seasonal demand trend visualisation

## Slide 5
DATA
Dataset & Feature Engineering
17,496
Hourly Records
2 Years
Jan 2022 – Dec 2023
19
Engineered Features
90/10
Train / Test Split
Temporal
Hour of day
Day of week
Month, Season
Week of year
Holiday flag
Meteorological
Temperature (°C)
Humidity (%)
Solar irradiation (W/m²)
Socio-Economic
Population
GNI per capita (USD)
Electricity price (USD/kWh)
Lag / Rolling
Lag 1-hour load
Lag 1-day load
Rolling 7-day avg

## Slide 6
ARCHITECTURE
System Pipeline & Architecture
Raw CSV
17,496 rows
EDA &
Preprocessing
Clean · Scale · Encode
Feature
Engineering
Temporal · Lag · Rolling
Train / Test
Split 90/10
Chronological
XGBoost
Regressor
Load MW prediction
XGBoost
Classifier
Peak hour detection
Evaluation
Metrics
MAE · R² · AUC-ROC
Streamlit
Dashboard
4-page web app
Regression Path
n_estimators=500 · learning_rate=0.05 · max_depth=6
subsample=0.8 · colsample_bytree=0.8 · early stopping (50 rounds)
Target: load_demand_MW (continuous)
Classification Path
n_estimators=300 · learning_rate=0.1 · max_depth=5
scale_pos_weight≈9 (handles class imbalance ~10% peak)
Target: is_peak (binary, 90th-percentile threshold ≈ 340 MW)
Serialised outputs: all_results.pkl · predictions.pkl · peak_analysis.pkl · residuals.pkl

## Slide 7
METHODOLOGY
Data Preprocessing Steps
01
Null Handling
Verified zero null values in cleaned dataset
02
Datetime Parsing
Converted string to pandas datetime64 · set as index
03
Peak Label Creation
is_peak = 1 when load > 90th percentile (~340 MW) in hours 22–06
04
Feature Scaling
StandardScaler applied to continuous features for classifier
05
Lag Features
lag_1h and lag_1d created with .shift() — no data leakage
06
Rolling Window
7-day rolling mean on training; boundary values for test set
07
Train-Test Split
Chronological 90/10: first 15,728 rows train · last 1,768 test
08
One-Hot Encoding
Season encoded with pd.get_dummies(drop_first=True)

## Slide 8
RESULTS
Load Forecasting Results
1.84 MW
Mean Absolute Error (MAE)
2.38 MW
Root Mean Square Error (RMSE)
0.9964
R² Score (Coefficient of Determination)
0.68%
Mean Absolute Percentage Error (MAPE)
Chart: Error Metrics (MW)
| Train MAE | Test MAE | Test RMSE | Max Error
Error (MW) | 1.2 | 1.84 | 2.38 | 7.99
Key Insight
R² of 0.9964 indicates near-perfect fit with residuals consistently below 2 MW
Maximum error of 7.99 MW across all test hours confirms model stability
Test MAE only 0.64 MW above Train MAE — minimal overfitting
Model trained on 90% data (15,728 records), tested on Dec 2023 (1,768 records)

## Slide 9
RESULTS
Peak Risk Detection Results
0.889
Precision
1.000
Recall (Zero Missed Peaks!)
0.941
F1-Score
0.999
AUC-ROC
Confusion Matrix
Predicted Non-Peak
Predicted Peak
Actual
Non-Peak
Actual
Peak
TN = 159
FP = 1
FN = 0 ✓
TP = 8
FN = 0: Every single peak hour was correctly flagged — no blackout risk missed!
Why Recall = 1.0 Matters
Peak hours represent ~10% of all hours, concentrated in 22:00–06:00 window
Missing a peak hour (FN) causes grid stress, equipment damage, or outages
1 false positive (FP) is acceptable vs. 0 missed peaks in critical infrastructure
scale_pos_weight=9 balanced the class imbalance, preventing the model from ignoring minority class

## Slide 10
APPLICATION
Streamlit Web Application
Page 1
Dashboard
4 KPI cards (MAE, RMSE, F1, Peak %)
7-day actual vs predicted chart
Peak risk donut chart
24-hour ahead dual-axis forecast
Page 2
Forecast Analysis
24–720 hour time-window selection
Chart type selector
Error distribution histogram
Error-vs-predicted scatter plot
Page 3
Peak Risk Detection
Precision / Recall / F1 display
Slider-controlled probability timeline
Risk threshold lines at 30% & 70%
Actual load overlay
Page 4
Model Performance
All stored evaluation metrics
Feature importance bar chart
Feature correlation with load demand
Loaded from all_results.pkl
Technology-agnostic front-end · Zero installation · Runs in any browser · Pre-trained pickled models (<1s inference)

## Slide 11
TECHNOLOGY
Tools & Technology Stack
Python 3.11
Core language
XGBoost 2.0
Regression & Classification
Pandas 2.1
Data manipulation
NumPy 1.26
Numerical operations
Scikit-learn 1.4
Preprocessing & metrics
Streamlit 1.32
Interactive dashboard
Plotly 5.20
Interactive visualisations
Pickle
Model serialisation
Jupyter 7.x
Development & experimentation

## Slide 12
FUTURE WORK
Proposed Enhancements
⚡
Real-Time SCADA Integration
Connect pipeline to live feeds for hourly auto-updates to forecasts
🧠
LSTM / Transformer Models
Explore seq2seq deep learning for longer-range temporal dependencies
📊
Probabilistic Forecasting
Quantile regression & conformal prediction for uncertainty bounds
📅
Longer Training Window
5–10 years of data to capture seasonal drift and rare demand events
📱
Mobile-Responsive UI
React/Angular front-end with role-based access control for stakeholders
🔍
Anomaly Detection
Isolation Forest / Autoencoder for data-quality issue flagging
🌱 Carbon Emission Overlay — Integrate regional carbon intensity data to overlay CO₂ emission estimates alongside load forecasts, supporting India's net-zero planning.

## Slide 13
CONCLUSION
Conclusion
Near-Perfect Accuracy
R² = 0.9964
Extreme Gradient Boosting delivers highly accurate hourly load forecasting from a carefully engineered 19-feature dataset.
Zero Missed Peaks
Recall = 1.0
Peak classification achieves AUC-ROC = 0.999 with no missed peak events — critical for preventing grid failures.
Seasonal Insights
22:00–06:00
Peak hours are concentrated in late-night/early-morning windows and spring/summer, enabling targeted generation scheduling.
Accessible Dashboard
Streamlit
Non-technical grid operators get intuitive visualisations, 24-hour forecasts, and colour-coded risk alerts in a browser.
Future: Live SCADA integration · Deep-learning sequence models · Probabilistic intervals · Carbon-aware dispatch for India's net-zero ambitions

## Slide 14
Thank You
Electricity Demand Forecasting & Peak Risk Detection System
Tushar Kacha · Isha Kakadiya · Drashti Parecha
Guide: Dr. Sunil Bajeja & Nikunj Bosamiya
Marwadi University · Faculty of Computer Applications · AY 2025–26
R² = 0.9964
Load Forecasting
Recall = 1.0
Peak Detection
AUC-ROC = 0.999
Classifier
MAE = 1.84 MW
Test Error